# Construction Environmental, Safety & Health Plan (CESHP)

INSTRUCTIONS

This Construction Environmental Safety & Health Plan is required for each construction project at DOE’s National Laboratory of the Rockies site (NLR).

Each construction project (contract) requires its own CESHP; therefore, each CESHP must be tailored specifically to the project being conducted.  This template is provided in electronic format to enable copy and paste functions for those subcontractors whose basic data remains unchanged yet tailor the hazard and controls information to the activities/materials/location of the project at hand.  NLR recommends using a graded approach in the development of CESHPs. This approach determines the level of rigor for implementing the work planning and control attributes based on the importance/significance of the activity with the associated hazards and consequences.  The level of detail within each CESHP and corresponding AHA(s) should be commensurate with the construction project's size, complexity, and risk level.

For larger projects, the prime subcontractor may either pass this requirement on to each of its subcontractors or serve as a control and coordination point, requiring all subcontractors’ activities to be conducted under the prime subcontractor’s solitary CESHP.

NLR’s Construction Environmental Safety and Health Manual (“CESH Manual”) is the governing document that accompanies the CESHP and must be utilized when completing it to ensure that NLR-specific requirements are being met and incorporated into the project planning process.

Your completed CESHP is to be submitted to the NLR Contracts and Business Services office for review by the ESH POC before performing work.  This CESHP is intended to be a living document; updated as necessary throughout a project as information changes or as the project progresses (e.g. – as additional Activity Hazard Analyses are developed, subcontractors/workers are added, etc.).

There are three parts to this CESHP template.  All the sections in Part 1 are required to be completed for each construction project, regardless of the size or complexity.  All the sections in Part 2 are required to be completed but checked and filled in as applicable to the project’s scope of work.  Enter information in all the fill-in applicable blocks.  For those that are not applicable, enter “N/A” or other suitable explanation.

An Activity Hazard Analysis (AHA), Part 3, is required for all projects, regardless of the size, scope or complexity of work. Every project will have at least one definable construction activity, and therefore at least one AHA.  Depending upon the complexity of the project, one or several AHAs may need to be completed.  In some cases, AHAs may need to be staged, in coordination with the initiation of the various phases of a project.

Part 1 – Project Governance / Emergency Information

Section 1 – Project Description and Emergency Contacts

Fill in the names and telephone numbers of the contact personnel for this project.  In accordance with 10 CFR 851, the Subcontractor’s designated on-site safety representative must be knowledgeable of the project’s hazards and have the authority to correct unsafe conditions or behavior.  Attach the qualifications of your safety representative for this project (see section 10).  If you have subcontractors performing work on this project, list their contact information.  Update as necessary throughout the project.

Note: Some projects of long duration or complexity may require the development of an emergency response plan and conduct a drill at least once during the project, or more often as necessary.

NLR will provide a site map showing assembly points which will be attached to CESHP. Subcontractors are required to provide and post maps and locations of medical facilities.

Refer to Chapter 2 of the CESH Manual for additional information.

Section 2 – Subcontractor Policy Statement

Enter your Company’s health and safety policy statement. At a minimum, your policy must include:

- Specific statement of intent to comply with the code of federal regulations, Title 29, Part 1910, General Industry Safety and Health Standards and Part 1926, Safety and Health Standards for the Construction Industry, 10 CFR 851, Worker Safety and Health, and other applicable codes and standards.

- A statement that all requirements of the plan apply to all lower-tier subcontractors and must be flowed down to all subcontractors at all levels.

- Statement of employee’s rights and responsibilities regarding a safe and healthful work environment following the work site OSH poster (i.e. OSHA/DOE poster or equivalent).

- Statement of Stop Work Authority for all workers.

Refer to Chapter 2 of the CESH Manual for additional information regarding program policies.

Section 3 – 10 CFR 851 Acknowledgement

Because NLR is a Department of Energy site, your company must meet the requirements of Title 10, Code of Federal Regulations, “Energy”, Part 851, “Worker Safety and Health Program” It is your responsibility to ensure you have read and understand the regulatory requirements. https://www.energy.gov/gc/10-cfr-851-worker-safety-and-health-program

Refer to Chapter 2 of the CESH Manual for additional information regarding program policies.

Section 4 – Construction Environmental, Safety & Health Manual Acknowledgement

NLR has developed a construction ESH manual to serve as a primary reference document to identify our required ESH work processes and work practices to help ensure project success.  It is your responsibility to ensure you have read and fully understand the contents of this manual.  The NLR ESH POC must be contacted if you have any questions.

Section 5 – Safety Briefings and Inspections

The Subcontractor must conduct frequent safety briefings and inspections, based upon the duration and complexity of the project.  Describe the frequency and initiation of safety briefings and inspections on your project at NLR.

Refer to Chapter 5.0 of the CESH Manual for additional information regarding minimally required inspections and briefings.

Part 2 – Project Characterization

Section 6 – Project Characterization

Under 10 CFR 851, all Subcontractors must identify existing and potential workplace hazards and assess the risk of associated workers injury and illness.  This section will help to serve as the first step in characterizing your project and the associated hazards and will aid in the development of the AHA(s).

List the project’s Definable Work Activities:  A definable work activity is a task that is separate and distinct from other tasks, has separate control requirements, and may be identified by different trades or disciplines, or it may be worked by the same trade in a different environment.  Add additional lines as necessary to identify all the definable construction activities of your project.  Refer to Chapter 4.0 of the CESH Manual for additional information regarding Definable Work Activities.

Check all the Hazards/Activities that apply to your project:  The checklist in this section includes those activities that are subject to NLR-specific controls beyond what is required by OSHA standards or have the potential to affect natural resources including stormwater, wetlands, streams, air quality, vegetation, and wildlife.   In the left-hand column, check all activities that will be performed as part of this project.  Identify your Competent Person(s) or Qualified Person(s) where applicable.  Refer to the corresponding Chapters of the CESH Manual for additional information on each topic area.

This checklist is presented in part for project planning and scheduling purposes, as some activities require NLR specific permits to be acquired prior to being allowed to perform them.  If your project involves an activity that has a check in the right-hand column, then your CESHP must include a copy of your company program that addresses the controls and requirements for performing that activity at NLR.  If your company does not have an established program for a particular activity, then you may attach a project-specific program/plan for performing that activity at NLR or address it in sufficient detail in a thorough AHA (however, this is not an option for OSHA-required programs).  Use Section 10 of this template to list and identify attachments of your company programs, policies, procedures and/or plans.  Be specific as to the chapter and/or section being referenced.

Project applicable activities that have potential environmental impacts will require NLR ESH coordination and concurrence, as identified in Chapter 20 of the CESH Manual.  The Subcontractor and all lower-tier subcontractors are responsible for implementation and compliance with all federal, state, and local laws as well as NLR procedures.

Details of NLR-specific requirements are presented in the NLR “Construction Environment, Safety & Health Manual.”  The subcontractor is responsible for knowing and abiding by the requirements of the CESH Manual.

Section 7 – Project Support Features, Site Control and Logistics

For large or complex projects, attach a diagram showing: construction areas, laydown areas, staging areas, alternative exit routes, material storage areas, pedestrian routes, temporary traffic controls, material receiving areas, etc. Use Section 10 of this template to identify which appendix the Logistics Plan appears in your CESHP.

Section 8 – Required Training/Qualification Submittals

Check all boxes applicable to this Project’s work scope. The subcontractor is responsible for assuring that all workers have met the training requirements identified by OSHA 29 CFR 1926, 29 CFR 1910, and DOE 10 CFR 851, as applicable to the work activities associated with the project scope.  In addition, the subcontractor must maintain those documents for each worker on-site throughout the project.  Identify where you will maintain those records on the NLR Site.  Refer to Chapter 2.0 of the CESH Manual for additional training requirements information.  It is recommended that a spreadsheet be maintained to facilitate the recordkeeping of required training for each worker.

However, the subcontractor must submit training/qualification documentation for each worker performing work associated with the specific topics listed in Section 10.  This submittal must be reviewed and accepted by NLR, before each worker starts work.

Section 9 – Hazard Communication

Hazardous chemicals (as defined in 29 CFR 1910.1200) to be brought or used on-site are to be identified and managed appropriately.  The subcontractor is responsible for maintaining an up-to-date chemical inventory (only of those chemicals brought on site), and copies of Safety Data Sheets (SDS) must be maintained at the task or project support facilities and made available for review by site workers, the DOE or NLR employees.

Identify the methods you will use to inform the other employer(s) of any precautionary measures that need to be taken to protect NLR and/or other subcontractor employees during normal operating conditions and in foreseeable emergencies.  Identify the methods you will use to inform other affected workers of your labeling system if the labeling system is not readily understandable.

If your existing Hazard Communication Program addresses these requirements, you may attach a copy of it and your project specific chemical listing instead of filling out the block in this Section 9.

Refer to Chapter 17.0 of the CESH Manual for additional information regarding NLR’s Hazard Communication requirements.

Section 10 – Plan Attachments

A description of the qualification (or resume) of the individual serving as the Primary Subcontractor’s Designated Safety Representative(s) on this project must be included in the Plan, per 10 CFR 851.

Additionally, if your project involves a hazard/activity that has a check in the right-hand column of Section 6, then your CESHP must include a copy of your company’s program addressing that topic.  Alternatively, your company may submit a project-specific plan/AHA that details your approach to addressing that topic.  You are responsible for ensuring that your project specific controls are in alignment with the NLR site requirements presented in the CESH Manual, either via your company program or through specific controls identified in the project AHAs.

Use this Section of this template to also list any other plans(s)/procedures, training documentation, you are attaching to this CESHP.  An electronic file or hyperlink to these documents must be referenced here.

Part 3 – Activity Hazard Analyses

10 CFR 851, Appendix A to Part 851 – Worker Safety and Health Functional Areas, Construction Safety requires that an Activity Hazard Analysis (AHA – sometimes referred to as a Job Safety Analysis, JSA, or Job Hazard Analysis, JHA) be prepared for each separately definable construction activity (e.g. welding, excavations, concrete work, structural steel, electrical, scaffold, roofing, etc.) before the commencement of work.  For larger projects, the primary subcontractor may either flow down this requirement to each of its lower-tier subcontractors or serve as a single control and coordination point for all project AHAs.

Prior to the start of each phase of work, it will be the responsibility of the subcontractor to develop a thorough AHA that details the hazards and controls for the steps associated with that phase of work and submit it to NLR ESH for review.

If the project’s complexity and/or schedule necessitate several AHAs to be developed for different phases of the Project, the subcontractor may use the tracking table as a tool to coordinate which AHAs are in effect and which AHAs are yet to be developed.

The CESHP template is provided in electronic format to enable copy and paste functions for those subcontractors whose basic data remains unchanged, yet allow for the work steps, hazard and controls information to be tailored to the activities/materials/location of the project at hand.  The AHA template rows can be expanded to include additional tasks, or reduced in number to accommodate changes, and to vary the final product to match the relative complexity of the project.

Refer to Chapter 4.0 of the CESH Manual for additional information regarding NLR’s Activity Hazard Analyses requirements.

(Project Name)

# Construction Environmental, Safety & Health Plan

| SECTION 1 - PROJECT DESCRIPTION & EMERGENCY CONTACTS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Project Start / End Dates | Start: |  |  | Complete: |  |
| Project Location |  |  |  |  |  |
| Detailed Scope of Work |  |  |  |  |  |
| FOR ALL EMERGENCIES CALL: |  |  |  |  |  |
| South Table Mountain Call Security at x1234 or (303) 384-6811 from a cell phone Flatirons Campus Call 911 - Ask for Boulder County and then Call STM Security at x1234 or (303) 384-6811 from a cell phone |  |  |  |  |  |
| For all incidents, injuries, property damage, near-misses, etc., the following personnel MUST be immediately contacted upon scene stabilization |  |  |  |  |  |
| Project Personnel | Name |  | Phone Number(s) |  | Email |
| NLR Project Manager |  |  |  |  |  |
| NLR Project ES Point of Contact |  |  |  |  |  |
| OTHER CONTACT INFORMATION |  |  |  |  |  |
| Subcontractor Project Manager |  |  |  |  |  |
| Subcontractor Site Superintendent |  |  |  |  |  |
| Subcontractor Health & Safety Representative |  |  |  |  |  |
| Subcontractors |  | Phone Number |  |  | Email |

| CESHP REVIEWS |  |  |
| --- | --- | --- |
| Reviewed & Approved by: (Subcontracted Company Officer) | Subcontractor CESHP Reviewed & Concurred by: (NLR Project Manager) | Subcontractor CESHP Reviewed & Concurred by: (NLR ESH POC) |
| Signatures and dates |  |  |

SECTION 2 - SUBCONTRACTOR POLICY STATEMENT

Enter your Company’s health and safety policy statement.  At a minimum, your policy must include:

- Specific statement of intent to comply with the code of federal regulations, Title 29, Part 1910, General Industry Safety and Health Standards and Part 1926, Safety and Health Standards for the Construction Industry, 10 CFR 851, Worker Safety and Health, and other applicable codes and standards.

- A statement that all requirements of the plan apply to all lower-tier subcontractors and must be flowed down to all subcontractors at all levels.

- Statement of employee’s rights and responsibilities regarding a safe and healthful work environment following the work site OSH poster (i.e. OSHA/DOE poster or equivalent).

- Statement of Stop Work Authority for all workers.

| SECTION 3 - ACKNOWLEDGMENT of 10 CFR 851 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| As a subcontractor to NLR, while your workers are physically located at NLR you must meet the requirements of Title 10, Code of Federal Regulations, “Energy”, Part 851, “Worker Safety and Health Program” (10 CFR 851). As such, you must be aware of, and comply with, the requirements of this regulation. https://www.energy.gov/gc/10-cfr-851-worker-safety-and-health-program |  |  |  |  |  |  |
| Acknowledgment | I certify that I have read the requirements of 10 CFR 851 and attest that my firm and its sub-tier contractors will comply with the requirements of 10 CFR 851. |  |  |  |  |  |
| Signature Required: |  |  |  |  |  |  |
| MEDICAL SURVEILLANCE AND QUALIFICATION |  |  |  |  |  |  |
| Occupational Medicine | Will you have any employees that will work on-site at NLR for 30 days in 12 months, or are enrolled for any length of time in a medical or exposure monitoring program required by federal, state, or local regulations (including hearing conservation, respiratory protection, silica exposure)? Refer to the CESH Manual, Section 3.0 for additional information. |  |  |  | Yes | No |
|  | If yes, you will need to: Comply with the occupational medicine requirements of 10 CFR 851, Appendix A Provide your occupational medicine provider contact information |  |  |  |  |  |
| Clinic / Physician |  |  |  | Email: |  |  |
| Required Medical Surveillance |  | Task-specific medical testing |  |  |  |  |
| DOT/Commercial Vehicle Blood Lead Hearing Conservation Respirator User Fit For Duty Silica Substance Abuse Testing Other(s): List other(s) |  |  |  |  |  |  |

| SECTION 4 - ACKNOWLEDGEMENT of CONSTRUCTION ENVIRONMENTAL, HEALTH and SAFETY MANUAL. |
| --- |
| Acknowledgment | I certify that that I have read and understand the requirements of the NLR Construction Environmental, Health & Safety Manual v8. 01/30/2020. |
| Signature Required: |  |

SECTION 5 - SAFETY BRIEFINGS AND INSPECTIONS

Safety Briefings: .

Safety Inspections:

Refer to the CESH Manual, Section 5.0 for additional information.

| SECTION 6 – PROJECT CHARACTERIZATION |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Identify the project’s Definable Work Activities. (e.g., welding, excavations, concrete, structural steel erection, architectural finishes, electrical install, roofing, landscaping, testing, and startup) |  |  |  |  |  |  |  |
| Check all hazards/activities below that apply to this Project. Refer to the CESH Manual for NLR-specified controls. |  |  |  |  |  |  |  |
| Yes | No | Hazard/Activity with specific NLR-based control measures. |  | NLR Construction ESH Manual Chapter(s) | NLR issued Permit |  | Subcontractor Program or Project Plan required |
|  |  | Asbestos use, alteration, removal, or storage |  | 14 |  |  |  |
|  |  | (Identify your Supervisor for Asbestos Work here) |
|  |  | Blocking exits or exit pathways |  | 9 |  |  |  |
|  |  | Building surface penetration |  | 19 |  |  |  |
|  |  | Confined spaces |  | 18 |  |  |  |
|  |  | Crane Use |  | 10 |  |  |  |
|  |  | (Identify your Competent Person here) |
|  |  | Discharges to sanitary/septic system will occur |  | 20 |  |  |  |
|  |  | Electrical work (LOTO and >50 v or > 50 mA) |  | 6, 7 |  |  |  |
|  |  | Excavation/Trenching |  | 7, 8 |  |  |  |
|  |  | Earth disturbance of greater than one acre |  | 20 |  |  |  |
|  |  | Falls from elevation (work at heights of 6 feet or more above the lower level) |  | 11 |  |  |  |
|  |  | Fire protection system outage or modification |  | 9 |  |  |  |
|  |  | Flushing of waterlines, storm/sanitary lines, fire suppression systems or fire hydrants |  | 18 |  |  |  |
|  |  | Hazardous Waste Storage or generation on construction site |  | 9, 20 |  |  |  |

| Yes | No | Hazard/Activity with specific NLR-based control measures |  | NLR Construction ESH Manual Chapter(s) | NLR issued Permit | Subcontractor Program or Project Plan required |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Hoisting/Rigging |  | 10 |  |  |
|  |  | (Identify your Competent Person here) |
|  |  | Hot work |  | 9 |  |  |
|  |  | Lockout/Tagout (Control of Hazardous Energy) |  | 6 |  |  |
|  |  | Night work |  | 13 |  |  |
|  |  | Outdoor work to be performed between mid-March and mid-September |  | 13 |  |  |
|  |  | Radioactive materials or Ionizing radiation-generating devices |  | 13 |  |  |
|  |  | (Identify your Radiation Safety Officer here) and provide a copy of the Radioactive Materials License and/or Device Registration |
|  |  | Scaffolding |  | 5, 10, 11 |  |  |
|  |  | (Identify your Competent Person here) |
|  |  | Building structural modifications |  | 10, 11 |  |  |
|  |  | Traffic Control |  | 21 |  |  |
|  |  | (Identify your Competent Person here) |  |  |  |  |
|  |  | Excavation near underground Utilities |  | 7, 8 |  |  |
|  |  | Wetlands, drainage channels, streams, groundwater seeps occurring within construction site |  | 20 |  |  |

| SECTION 7 - PROJECT SUPPORT FEATURES, SITE CONTROL & LOGISTICS |  |
| --- | --- |
| Check all the facilities and equipment that are required for safe completion of work. |  |
| Facility/Equipment | Description |
| Project Office |  |
| Materials Receiving Location |  |
| Portable Restrooms/wash stations |  |
| Supplementary Illumination | Describe Supplementary Illumination (Type(s), indoor/outdoor, distribution, etc.) |
| Emergency Eyewash/Shower |  |
| First Aid Supplies | To be located at each working location |
| Fire Extinguishers | To be located at each working location |
| Hazardous Material Storage | Describe (materials, amounts, location, etc.) |
| Spill Containment/Clean-up | Describe (materials, location, etc.) |
| Other: Enter Other Type | Describe item, location, number, etc. |
| Other: Enter Other Type | Describe item, location, number, etc. |

| Site Control / Logistics |  |
| --- | --- |
| Task / Location | Specify your task-specific site control/access control measures below. |
| Staging/Material Deliveries | Staging and material delivery will be located on the east side of building 255. |
| Check here if you are ALSO attaching a Logistics Plan for your activities. Logistics Plan is attached in Appendix #___ |  |

| SECTION 8 – REQUIRED TRAINING/QUALIFICATIONS SUBMITTALS |  |  |
| --- | --- | --- |
| Training Records Location: Identify where you will maintain training/certification records related to your Project at NLR:Documents section in Procore |  |  |
| Identify (from the below list) the activities/personnel involved with your project and separately submit appropriate documentation for each worker engaged in that respective activity. The documentation submitted shall confirm that each worker has the required license, certification, training or medical clearance appropriate to the scope of work, before they begin work at NLR. |  |  |
| Yes | No |  |
|  |  | Asbestos activities (licensed abatement contractor, workers minimum CDPHE and OSHA required credentials) |
|  |  | Aerial Lift, Powered Platforms Man lifts, and Vehicle Mounted Platform Operation |
|  |  | Confined Space Entry – (Entrant, Attendant, and Entry Supervisor) |
|  |  | Control of Hazardous Energy (lockout/tagout) |
|  |  | Crane Operation (NCCCO license) |
|  |  | Fall Protection – Authorized Worker (work performed 6 feet or more above the lower level) |
|  |  | Fall Protection – Competent Person |
|  |  | Fall Protection – Qualified Person |
|  |  | Forklift/Telehandler/Powered Industrial Truck Operation |
|  |  | Hoisting & Rigging Personnel |
|  |  | Qualified Electrical Worker – (provide a copy of the business license and active Apprentice, Journeyman or Master Electrician License and documentation of NFPA 70E training) |
|  |  | Respiratory Protection – (provide medical evaluation, fit test, and training documents) |
|  |  | Scaffolding – Competent Person |
|  |  | Silica – Competent Person and authorized workers |
|  |  | Steel Erection (29 CFR 1926.761) Connector |
|  |  | Trenching and Excavation – Competent Person |
|  |  | Welding/Orbital of Stainless steel and/or Vessels – (provide appropriate American Welding Society (AWS) welding certification). |
|  |  | Other: (List...) |

SECTION 9 - HAZARD COMMUNICATION (HAZCOM)

Refer to the CESH Manual, Section 15 for additional information.

| SECTION 10 - PLAN ATTACHMENTS |  |
| --- | --- |
| For each activity or hazard checked in Sections 6, and 8, list and attach your additional corporate, site- or project-specific programs/plans, training documentation, resumes, etc. |  |
| Attachment | Reference Procedure or Program |

| PART 3 – ACTIVITY HAZARD ANALYSES |  |  |  |  |
| --- | --- | --- | --- | --- |
| Complete an Activity Hazard Analysis for each of your project’s Definable Construction Activities Refer to the CESH Manual, Section 4.0 for additional information. |  |  |  |  |
| Note: A completed, signed AHA must be submitted to NLR ESH for review before the start of each phase of work, to proceed with that phase. |  |  |  |  |
| AHA Tracking Table (use is non-mandatory unless required by ESH contact) |  |  |  |  |
| 1 | Anticipated Start Date | Company | AHA Submittal Date | Date AHA accepted by NLR |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |

(Project Name)

Emergency Assembly Points

(NLR to Provide)